## Sheet1
Site Name | Management Domain | ManageObject_x | Start Time | Ambient temperature(℃) | PV Temperature(℃) | Wind speed(m/s) | Wind direction(°) | Daily irradiation(MJ/㎡) | Irradiance(W/㎡) | Device connection status | ManageObject_y | Inverter status | Grid voltage/Grid AB line voltage(V) | BC line voltage(V) | CA line voltage(V) | Phase A voltage(V) | Phase B voltage(V) | Phase C voltage(V) | Grid current/Grid phase A current(A) | Phase B current(A) | Phase C current(A) | Inverter efficiency(%) | Device internal temperature(℃) | Power factor | Grid frequency(Hz) | Active power(kW) | Output reactive power(kvar) | Daily energy(kWh) | Total input power(kW) | PV1 input voltage(V) | PV2 input voltage(V) | PV3 input voltage(V) | PV4 input voltage(V) | PV5 input voltage(V) | PV6 input voltage(V) | PV7 input voltage(V) | PV8 input voltage(V) | PV9 input voltage(V) | PV10 input voltage(V) | PV11 input voltage(V) | PV12 input voltage(V) | PV13 input voltage(V) | PV14 input voltage(V) | PV15 Input Voltage(V) | PV16 Input Voltage(V) | PV17 Input Voltage(V) | PV18 Input Voltage(V) | PV19 Input Voltage(V) | PV20 Input Voltage(V) | PV1 input current(A) | PV2 input current(A) | PV3 input current(A) | PV4 input current(A) | PV5 input current(A) | PV6 input current(A) | PV7 input current(A) | PV8 input current(A) | PV9 input current(A) | PV10 input current(A) | PV11 input current(A) | PV12 input current(A) | PV13 input current(A) | PV14 input current(A) | PV15 Input Current(A) | PV16 Input Current(A) | PV17 Input Current(A) | PV18 Input Current(A) | PV19 Input Current(A) | PV20 Input Current(A) | Cumulative energy(kWh) | Inverter startup time | Inverter shutdown time | MPPT 1 DC cumulative energy(kWh) | MPPT 2 DC cumulative energy(kWh) | MPPT 3 DC cumulative energy(kWh) | MPPT 4 DC cumulative energy(kWh) | MPPT 5 DC cumulative energy(kWh) | MPPT 6 DC cumulative energy(kWh) | MPPT 7 DC cumulative energy(kWh) | MPPT 8 DC cumulative energy(kWh) | MPPT 9 DC cumulative energy(kWh) | MPPT 10 DC cumulative energy(kWh) | Monthly energy(kWh) | Annual energy(kWh) | Voltage between PV– and the ground(V) | Total DC input energy(kWh) | Accumulated amount of absorbed electricity(kWh)